Project Title / Name: _______________________________________________________________________________

| FIFM Planning: Milestones and Hold Points |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Activity |  |  |  | Form | Required | Responsible Person |  | Print Name |  | Signed |  | Date |  |
| 1 | Relevant attachment from HSP0070: |  |  |  | Mandatory | Specify: |  |  |  |  |  |  |  |
|  | Water (Attachment 1): W2, W3, W4, W5 or W6, Wastewater (Attachment 2), Treatment (Attachment 3), Stormwater (Attachment 4). |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Roles and responsibilities are allocated? |  |  | B | Mandatory | Responsible Manager |  |  |  |  |  |  |  |
| 3 | The works in Form A have been investigated. FIFM HIDRA is completed and appropriate controls developed? |  |  | C | Mandatory | Responsible Manager |  |  |  |  |  |  |  |
| 4 | FIFM HIDRA is reviewed and acknowledged (by Person Requesting FIFM for Water / FIFM Plan Coordinator on behalf of key participants, for other systems)? |  |  | C | Mandatory | Person Requesting FIFM / FIFM Plan Coordinator |  |  |  |  |  |  |  |
| 5 | Nominated FIFM procedure acknowledged (Water only, ie W2, W4, W5, or W6)? |  |  |  | Mandatory | Person Requesting FIFM |  |  |  |  |  |  |  |
| 6 | FIFM schedule prepared & method for proving success of FIFM identified before submitting for approval (by Responsible Person Plan Preparation for Water / FIFM Plan Coordinator other products). |  |  | H | Mandatory | Responsible Person Plan Preparation / FIFM Plan Coordinator |  |  |  |  |  |  |  |
| 7 | Plan Approval |  | - Communication of FIFM prepared? - Trial FIFM and re-commissioning schedule prepared? - If trial is successful, can FIFM proceed to Form H without recommissioning on Form E? - FIFM schedule prepared, including method of proving success of FIFM? - FIFM monitoring plan prepared? - Re-commissioning schedule prepared? | D E / F H I / G J | Y / N Y / N Y / N / NA Mandatory Y / N Mandatory | Plan endorsed by: For Treatment only, if required. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Plan approved by: Responsible Manager |  |  |  |  |  |  |  |
| 8 | FIFM schedule reviewed & accepted by a Responsible Person for Implementation from the area that will complete and prove the schedule? This may be a different responsible person from this area at line 12. |  |  | FIFM Plan | Mandatory | A Responsible Person for Implementation from area that will complete FIFM schedule |  |  |  |  |  |  |  |
| 9 | Hold Point: Planning milestones complete. FIFM plan is reviewed and accepted. |  |  | FIFM Plan | Mandatory | FIFM Plan Coordinator |  |  |  |  |  |  |  |
| FIFM Implementation: Milestones and Hold Points |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Activity |  |  |  | Form | Responsible Person |  | Print Name |  | Signed |  | Date |  | Time |
| 10 |  | Persons have been informed of and have accepted their nominated responsibilities? |  | B | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |
| 11 |  | Communication of FIFM has been done? |  | D | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |
| 12 |  | FIFM schedule completed & I have personally witnessed the FIFM successfully proven? |  | H | Responsible Person Implementation |  |  |  |  |  |  |  |  |
| 13 |  | The responsible people have signed off that controls have been applied? |  | C | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |
| 14 |  | Hold Point: Pre- work milestones complete. Work authorised to commence? |  | B,D,C,H | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |
| 15 |  | Authority to commence work acknowledged? |  |  | Service Provider |  |  |  |  |  |  |  |  |
| 16 |  | To monitor system performance while work is carried out ? |  | I / G | Responsible Person Implementation |  |  |  |  |  |  |  |  |
| 17 |  | Work is complete to the stage where the asset is now available for recommissioning? |  |  | Service Provider |  |  |  |  |  |  |  |  |
| 18 |  | Hold Point: Asset is now available for recommissioning? |  |  | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |
| 19 |  | Authority to recommission assets acknowledged? |  |  | Responsible Person Implementation |  |  |  |  |  |  |  |  |
| 20 |  | Recommissioning schedule complete. System returned to normal operation and FIFM Plan Coordinator has been notified? |  | J | Responsible Person Implementation |  |  |  |  |  |  |  |  |
| 21 |  | Hold Point: Recommissioning acknowledged? Return plan to Responsible Manager. |  |  | FIFM Plan Coordinator |  |  |  |  |  |  |  |  |